## 2 Groundwater
TABLE 2: | SUMMARY OF GROUNDWATER LABORATORY
ANALYTICAL RESULTS
Former Tremont Nail Factory
| 8 Elm Street | [24 empty] | Zinc decrease | [34 empty] | VPH/EPH decreases | [5 empty] | VPH/EPH decreases | [19 empty] | Zinc decrease
| Wareham, MA | [8 empty] | NEW DATA | [6 empty] | NEW DATA | [8 empty] | NEW DATA | [12 empty] | NEW DATA | [7 empty] | NEW DATA | [7 empty] | NEW DATA | [5 empty] | NEW DATA | [5 empty] | NEW DATA |  |  |  | NEW DATA | [11 empty] | NEW DATA |  |  |  | NEW DATA
Sample Identification | Massachusetts Contingency Plan Method 1 Groundwater Standards |  |  |  | MW101 | [5 empty] | MW102 | [6 empty] | MW103 |  | MW104 | [6 empty] | MW105 | MW106 | MW107 | MW108 | MW109 | MW111 |  | MW112 | [5 empty] | MW113 | MW114 | [6 empty] | MW201 | MW202 | MW203 | [5 empty] | MW204 | [5 empty] | MW205 | [5 empty] | MW206 |  |  |  | MW501 | MW502 |  |  |  |  | MW503 | [5 empty] | MW601 |  |  |  | RIZ-1 |  | RIZ-2 |  | RIZ-3 |  | RIZ-4 |  | RIZ-5 |  | RIZ-6 | HDW-1 |  |  |  | HDW-2 | HDW-3 | HDW-4
Sampled By |  |  |  |  | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Ransom | Rizzo | Norfolk | Rizzo | Norfolk | Rizzo | Norfolk | Rizzo | Norfolk | Rizzo | Norfolk | Rizzo | Norfolk | Norfolk | Norfolk | Norfolk | Norfolk | Norfolk | Norfolk
Sample Number |  |  |  |  | MW101-W1-030816 | MW101-W1-062019 | MW101-W1-062019 | MW101-W1-031620 | MW101-W1-051820 | MW101-W1-102720 | MW102-W1-030716 | MW102-W1-103117 | MW102-W1-062019 | MW102-W1-112119 | MW102-W1-031720 | MW102-W1-051920 | MW102-W1-102620 | MW103-WI-030816 | MW103-W1-061919 | MW104-WI-030716 | MW104-WI-103117 | MW104-W1-061919 | MW104-W1-112119 | MW104-W1-031620 | MW104-W1-051920 | MW104-W1-102620 | MW105-WI-030816 | MW106-WI-030816 | MW107-WI-030816 | MW108-WI-030816 | MW109-WI-030816 | MW111-WI-030716 | MW111-W1-061919 | MW112-WI-030716 | MW112-W1-062019 | MW112-W1-112219 | MW112-W1-031720 | MW112-W1-051820 | MW112-W1-102620 | MW113-WI-030716 | MW114-WI-030717 | MW114-W1-120617 | MW114-W1-062019 | MW114-W1-112119 | MW114-W1-031720 | MW114-W1-051920 | MW114-W1-102620 | MW201-WI-103117 | MW202-WI-103117 | MW203-WI-103117 | MW203-W1-061919 | MW203-W1-112119 | MW203-W1-031720 | MW203-W1-052020 | MW203-W1-102620 | MW204-WI-110217 | MW204-W1-062019 | MW204-W1-112219 | MW204-W1-031620 | MW204-W1-051820 | MW204-W1-102720 | MW205-WI-110217 | MW205-WI-062019 | MW205-W1-112219 | MW205-W1-031620 | MW205-W1-051820 | MW205-W1-102720 | MW206-WI-110217 | MW206-WI-031720 | MW206-W1-051820 | MW206-W1-102720 | MW501-W1-120617 | MW502-W1-120617 | MW502-W1-061919 | MW502-W1-112219 | MW502-W1-031720 | MW502-W1-051920 | MW503-W1-120617 | MW503-W1-061919 | MW503-W1-112219 | MW503-W1-031620 | MW503-W1-052020 | MW503-W1-102620 | MW601-W1-112219 | MW601-W1-031620 | MW601-W1-051820 | MW601-W1-102720 | TNW-GW-RIZ1-103 | RIZ-1 | TNW-GW-RIZ2-102 | RIZ-2 | TNW-GW-RIZ1-101 | RIZ-3 | TNW-GW-RIZ4-106 | RIZ-4 | TNW-GW-RIZ5-107 | RIZ-5 | NA | HDW-1 | HDW-1 | HDW-1 | HDW-1 | HDW-2 | HDW-3 | NA
Sample Date |  |  |  |  | 03/08/2016 | 2019-06-20 | 2019-11-22 | 2020-03-16 | 2020-05-18 | 2020-10-27 | 2016-03-07 | 2017-10-31 | 2019-06-20 | 2019-11-21 | 2020-03-17 | 2020-05-19 | 2020-10-26 | 03/8/2016 | 2019-06-19 | 03/07/2016 | 2017-10-31 | 2019-06-19 | 2019-11-21 | 2020-03-16 | 2020-05-19 | 2020-10-26 | 03/08/2016 | 03/08/2016 | 03/08/2016 | 03/08/2016 | 03/08/2016 | 03/07/2016 | 2019-06-19 | 03/07/2016 | 2019-06-20 | 2019-11-22 | 2020-03-17 | 2020-05-18 | 2020-10-26 | 03/07/2016 | 03/07/2016 | 2017-12-06 | 2019-06-20 | 2019-11-21 | 2020-03-17 | 2020-05-19 | 2020-10-26 | 2017-10-31 | 2017-10-31 | 2017-10-31 | 2019-06-19 | 2019-11-21 | 2020-03-17 | 2020-05-20 | 2020-10-26 | 2017-11-02 | 2019-06-20 | 2019-11-22 | 2020-03-16 | 2020-05-18 | 2020-10-27 | 2017-11-02 | 6/20/19 | 2019-11-22 | 2020-03-16 | 2020-05-18 | 2020-10-26 | 2017-11-02 | 2020-03-17 | 2020-05-18 | 2020-10-27 | 2017-12-06 | 2017-12-06 | 2019-06-19 | 2019-11-21 | 2020-03-17 | 2020-05-19 | 2017-12-06 | 2019-06-19 | 2019-11-21 | 2020-03-16 | 2020-05-20 | 2020-10-26 | 2019-11-21 | 2020-03-16 | 2020-05-18 | 2020-10-27 | 1988-10-21 | 1995-08-15 | 1988-10-21 | 1995-08-15 | 1988-10-21 | 1995-08-15 | 1988-10-21 | 1995-08-15 | 1988-10-21 | 1995-08-15 | 1991-01-11 | 1995-08-15 | 1/16/1996 | 1/16/1996 | 1/16/1996 | 1995-08-15 | 1995-08-18 | 1999-04-15
Depth to Groundwater |  |  |  |  | 2.24 | 0.77 | 1.81 | 2.08 | 1.75 | ADD | 2.29 | 1.77 | 2.11 | 2.42 | 2.28 | 2.25 | ADD | 1.54 | 1.58 | 2.49 | 1.49 | 1.68 | 2.11 | 2.28 | 2.15 | ADD | 0.86 | 1.12 | 2.08 | 0.89 | 5.66 | 1.38 | 1.07 | 1.55 | 0.85 | 1.26 | 1.6 | 1.65 | ADD | 2.65 | 2.63 | 2.13 | 2.53 | 2.67 | 2.45 | 2.22 | ADD | 3.75 | 1.37 | 1.71 | 1.73 | 2.12 | 2.2 | 2.14 | ADD | 2.21 | 1.93 | 2.32 | 2.6 | 2.5 | ADD | 1.63 | 1.04 | 1.57 | 2.01 | 1.9 | ADD | 0.58 | 1.35 | 1.54 | ADD | 1.24 | 1.84 | 2 | 2.03 | 2 | 1.93 | 1 | 1.43 | 1.76 | 2.06 | 2.02 | ADD | 2.2 | 1.95 | 2.02 | ADD | 3.09 | NA | 2.64 | NA | 2.96 | NA | 7.4 | NA | 7.75 | NA | NA | NA | NA | NA | NA | NA | NA | NA
Lab number |  |  |  |  | 16C0416-06 | L1926906-01 | L1956477-01 | L2012475-01 | L2020791-01 | L2046787-10 | 16C0416-01 | 17K0091-01 | L1926906-02 | L1956477-02 | L2012475-02 | L2020791-07 | L2046787-02 | 16C0416-07 | L1926722-01 | 16C0416-08 | 17K0091-02 | L1926722-02 | L1956477-03 | L2012475-03 | L2020791-09 | L2046787-04 | 16C0416-09 | 16C0416-10 | 16C0416-11 | 16C0416-12 | 16C0416-13 | 16C0416-02 | L1926722-03 | 16C0416-03 | L1926906-03 | L1956477-04 | L2012475-04 | L2020791-06 | L2046787-05 | 16C0416-04 | 16C0416-05 | 17L0381-01 | L1926906-04 | L1956477-05 | L2012475-05 | L2020791-08 | L2046787-01 | 17K0091-03 | 17K0091-04 | 17K0091-05 | L1926722-04 | L1956477-06 | L2012475-06 | L2020791-11 | L2046787-03 | 17K0230-01 | L1927005-01 | L1956477-07 | l2012475-07 | L2020791-05 | L2046787-08 | 17K0230-03 | L1926906-05 | L1956477-08 | L2012475-08 | L2020791-04 | L2046787-09 | 17K0230-03 | L2012475-09 | L2020791-03 | L2046787-11 | 17L0381-02 | 17L0381-03 | L1926722-05 | L1956477-09 | L2012475-10 | L2020791-10 | 17L0381-04 | L1926722-06 | L1956477-10 | L2012475-11 | L2020791-12 | L2046787-06 | L1956477-11 | L2012475-12 | L2020791-02 | L2046787-07 | 882351.1 | 11552-02/03 | 882351.2 | 11552-04/05/06 | 882351.3 | 11552-07/08/09 | 882351.4 | 11552-10/11/12 | 882351.5 | 11552-13/14/15 | NA | 11552-16/17/18/19 | 12576-01 | 12576-01 | 12576-01 | 11552-21/22/23 | 11568-01/02/03 | 26286-02
Post-Remedial Injection Event (POST-INJ #) | [6 empty] | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 | POST-INJ #2 |  |  |  | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 | POST-INJ #2 | [5 empty] | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 | POST-INJ #2 | [9 empty] | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 | POST-INJ #2 |  |  |  |  | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 | POST-INJ #2 |  |  |  |  | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 | POST-INJ #2 |  |  | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 | POST-INJ #2 |  |  | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 | POST-INJ #2 |  | POST-INJ #1 | POST-INJ #1 | POST-INJ #2 |  |  |  | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 |  |  | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 | POST-INJ #2 | POST-INJ #1 | POST-INJ #1 | POST-INJ #1 | POST-INJ #2
| GW-1 | GW-2 | GW-3 | UCL
Total Petroleum Hydrocarbons (TPH)
| 200 | 5000 | 5000 | 50000 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [6 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (500) | BRL (500) | 8000 | 6400 | BRL (500) | BRL (500) | BRL (500) | BRL (500) | BRL (500) | BRL (500) | ND | BRL (500) | NA | NA | NA | BRL (500) | BRL (500) | NA | bar: MW105 to MW111
Extractable Petroleum Hydrocarbons (EPH)
C9-C18 Aliphatics | 700 | 5000 | 50000 | 100000 | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | BRL (100) | BRL (100) | NA | NA | NA | BRL (100) | NA | BRL (100) | NA | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (98) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | 480 | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | 104 | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | 170 | BRL (98) | BRL (100) | BRL (100) | BRL (100) | 121 | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (500)
C19-C36 Aliphatics | 14000 | NS | 50000 | 100000 | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | BRL (100) | BRL (100) | NA | NA | NA | BRL (100) | NA | BRL (100) | NA | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (98) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | 222 | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | BRL (100) | BRL (98) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (590)
C11-C22 Aromatics | 200 | 50000 | 5000 | 100000 | 230 | 141 | 266 | BRL (100) | BRL (100) | 124 | 290 | NA | BRL (100) | BRL (100) | NA | NA | NA | BRL (100) | NA | BRL (100) | NA | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (98) | 210 | BRL (100) | 160 | BRL (100) | BRL (100) | 128 | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | 400 | 410 | 410 | 338 | 485 | 165 | 360 | 298 | BRL (100) | 196 | 233 | 165 | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | 230 | BRL (98) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | 102 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (200) | NA | NA | NA | BRL (200) | BRL (200) | BRL (200)
Acenaphthene | 20 | NS | 10000 | 100000 | BRL (2) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (2) | NA | BRL (10) | BRL (10) | NA | NA | NA | BRL (2) | NA | BRL (2) | NA | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (9.8) | BRL (2) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | BRL (2) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (2) | BRL (10) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (2) | BRL (10) | BRL (10) | BRL (10) | NA | NA | NA | NA | NA | NA | BRL (2) | BRL (9.8) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (200) | NA | NA | NA | BRL (200) | BRL (200) | BRL (200)
2-Methylnaphthalene | 10 | 2000 | 20000 | 100000 | BRL (2) | BRL (10) | 32.6 | BRL (10) | BRL (10) | BRL (10) | 5.4 | NA | BRL (10) | BRL (10) | NA | NA | NA | BRL (2) | NA | BRL (2) | NA | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (9.8) | 4 | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | 54 | 61 | BRL (10) | 70.2 | 80.3 | 11 | 11 | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (2) | BRL (10) | BRL (10) | BRL (10) | NA | NA | NA | NA | NA | NA | 3.4 | BRL (9.8) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (200) | NA | NA | NA | BRL (200) | BRL (200) | BRL (200)
Naphthalene | 140 | 700 | 20000 | 100000 | BRL (2) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | 8.6 | NA | BRL (10) | BRL (10) | NA | NA | NA | BRL (2) | NA | BRL (2) | NA | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (9.8) | 3.8 | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | 35 | 46.3 | BRL (10) | 33.8 | 50.4 | 13.4 | 6.2 | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (2) | BRL (10) | BRL (10) | BRL (10) | NA | NA | NA | NA | NA | NA | BRL (2) | BRL (9.8) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (200) | NA | NA | NA | BRL (200) | BRL (200) | BRL (200)
Phenanthrene | 40 | NS | 10000 | 100000 | BRL (2) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | 4.9 | NA | BRL (10) | BRL (10) | NA | NA | NA | BRL (2) | NA | BRL (2) | NA | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (9.8) | BRL (2) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | BRL (2) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (2) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (2) | BRL (10) | BRL (10) | BRL (10) | NA | NA | NA | NA | NA | NA | BRL (2) | BRL (9.8) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (200) | NA | NA | NA | BRL (200) | BRL (200) | BRL (200)
Volatile Petroleum Hydrocarbons (VPH)
C5-C8 Aliphatics | 300 | 3000 | 50000 | 100000 | BRL (100) | BRL (50) | BRL (100) | BRL (100) | BRL (100) | BRL (200) | BRL (100) | NA | NA | BRL (100) | NA | NA | NA | BRL (100) | NA | BRL (100) | NA | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (50) | BRL (100) | BRL (50) | BRL (50) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | BRL (100) | BRL (50) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (50) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | BRL (100) | BRL (50) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
C9-C12 Aliphatics | 700 | 5000 | 50000 | 100000 | BRL (100) | 62.3 | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | BRL (100) | NA | NA | NA | BRL (100) | NA | BRL (100) | NA | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (50) | BRL (100) | BRL (50) | BRL (50) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | BRL (100) | 83.1 | BRL (100) | BRL (100) | 103 | 107 | 220 | BRL (50) | 125 | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | BRL (100) | BRL (50) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
C9-C10 Aromatics | 200 | 4000 | 50000 | 100000 | BRL (100) | BRL (50) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | BRL (100) | NA | NA | NA | BRL (100) | NA | BRL (100) | NA | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (50) | BRL (100) | BRL (50) | BRL (50) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | 320 | 244 | 203 | 396 | 410 | BRL (100) | 180 | 126 | BRL (100) | 190 | 190 | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | BRL (100) | BRL (50) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | BRL (100) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Benzene | 5 | 1000 | 10000 | 100000 | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | NA | NA | BRL (2) | NA | NA | NA | BRL (1) | NA | BRL (1) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (1) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Ethylbenzene | 700 | 20000 | 5000 | 100000 | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | NA | NA | BRL (2) | NA | NA | NA | BRL (1) | NA | BRL (1) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (1) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Methyl Tert Butyl Ether (MTBE) | 70 | 50000 | 50000 | 100000 | BRL (1) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (1) | NA | NA | BRL (3) | NA | NA | NA | BRL (1) | NA | BRL (1) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (3) | BRL (1) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (1) | BRL (1) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (1) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (1) | BRL (3) | BRL (3) | BRL (3) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | BRL (3) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Napthalene | 140 | 700 | 20000 | 100000 | BRL (5) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (5) | NA | NA | BRL (4) | NA | NA | NA | BRL (5) | NA | BRL (5) | NA | NA | NA | NA | NA | NA | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (4) | BRL (5) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (5) | BRL (5) | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | BRL (5) | BRL (5) | NA | NA | NA | NA | NA | 65 | 69.6 | 76.3 | 106 | 115 | 115 | BRL (5) | BRL (4) | 4.95 | BRL (4) | BRL (4) | 4.81 | BRL (5) | BRL (4) | BRL (4) | BRL (4) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Toluene | 1000 | 50000 | 40000 | 100000 | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | NA | NA | BRL (2) | NA | NA | NA | BRL (1) | NA | BRL (1) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (1) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
M/P-Xylene | 10000 | 3000 | 5000 | 100000 | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | NA | NA | BRL (2) | NA | NA | NA | BRL (2) | NA | BRL (2) | NA | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
O-Xylene | 10000 | 3000 | 5000 | 100000 | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | NA | NA | BRL (2) | NA | NA | NA | BRL (1) | NA | BRL (1) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (1) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (1) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | NA | BRL (1) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | BRL (2) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Metals
Antimony | 6 | NS | 8000 | 80000 | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | 9.9 | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (1) | BRL (4) | BRL (1) | BRL (1) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (40) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | NA | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (1) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (1) | BRL (1) | BRL (1) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | NA | NA | NA | BRL (1) | BRL (1) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (1) | NA | NA | NA | NA | NA | BRL (4) | BRL (4) | BRL (4) | BRL (4) | NA | NA | NA | NA | NA | NA | NA | NA | BRL (500) | NA | NA | NA | NA | NA | NA | NA | NA | NA
Arsenic | 10 | NS | 900 | 9000 | 1.2 | NA | NA | NA | NA | NA | BRL (0.4) | BRL (0.40) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | 2.6 | BRL (5) | BRL (0.4) | BRL (0.4) | BRL (5) | BRL (5) | 5 | 5 | 5 | BRL (0.4) | 0.45 | 1 | BRL (0.4) | BRL (0.4) | 1.2 | NA | 0.74 | NA | NA | NA | NA | NA | 0.43 | 1.43 | NA | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (0.4) | BRL (0.4) | BRL (0.4) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | 2.5 | NA | NA | NA | NA | NA | 6 | NA | NA | NA | NA | NA | 2.4 | NA | NA | NA | 0.74 | BRL (0.4) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | 3.3 | NA | NA | NA | NA | NA | BRL (5) | BRL (5) | BRL (5) | BRL (5) | NA | BRL (100) | NA | BRL (100) | NA | BRL (100) | NA | BRL (100) | BRL (5) | BRL (100) | 19 | BRL (100) | NA | NA | NA | BRL (100) | BRL (100) | BRL (100)
Barium | 2000 | NS | 50000 | 100000 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [6 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (200) | NA | BRL (200) | NA | BRL (200) | NA | BRL (200) | NA | BRL (200) | ND | BRL (200) | NA | NA | NA | BRL (200) | BRL (200) | BRL (200) | bar: MW105 to MW111
Beryllium | 4 | NS | 200 | 2000 | BRL (0.4) | NA | NA | NA | NA | NA | BRL (0.4) | BRL (0.40) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.4) | BRL (0.5) | BRL (0.4) | BRL (0.4) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (5) | BRL (0.4) | BRL (0.4) | BRL (0.4) | BRL (0.4) | BRL (0.4) | BRL (0.4) | NA | BRL (0.4) | NA | NA | NA | NA | NA | BRL (0.4) | BRL (0.4) | NA | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.4) | BRL (0.4) | BRL (0.4) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.4) | NA | NA | NA | NA | NA | BRL (0.4) | NA | NA | NA | NA | NA | BRL (0.4) | NA | NA | NA | BRL (0.4) | BRL (0.4) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.4) | NA | NA | NA | NA | NA | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | NA | NA | NA | NA | NA | NA | NA | NA | BRL (20) | NA | NA | NA | NA | NA | NA | NA | NA | NA
Cadmium | 5 | NS | 4 | 50 | BRL (0.5) | NA | NA | NA | NA | NA | 1.1 | 1.5 | BRL (4) | BRL (0.5) | BRL (4) | BRL (4) | BRL (4) | BRL (0.5) | BRL (4) | 11 | 5.2 | 6 | 1.2 | BRL (4) | BRL (4) | BRL (4) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | NA | BRL (0.5) | NA | NA | NA | NA | NA | BRL (0.5) | BRL (0.5) | NA | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (4) | BRL (0.5) | BRL (0.5) | 0.77 | BRL (4) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | NA | NA | NA | NA | NA | 0.98 | NA | NA | NA | NA | NA | BRL (0.5) | NA | NA | NA | BRL (0.5) | BRL (0.5) | BRL (4) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | NA | NA | NA | NA | NA | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | NA | BRL (5) | NA | BRL (5) | NA | BRL (5) | NA | BRL (5) | BRL (10) | BRL (5) | ND | BRL (5) | NA | NA | NA | BRL (5) | BRL (5) | BRL (5)
Chromium | 100 | NS | 300 | 3000 | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (1) | BRL (10) | BRL (1) | BRL (1) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | NA | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | NA | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | 1.1 | BRL (1) | 1.3 | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | NA | NA | NA | BRL (1) | BRL (1) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (1) | NA | NA | NA | NA | NA | BRL (10) | BRL (10) | BRL (10) | BRL (10) | NA | BRL (10) | NA | BRL (10) | NA | BRL (10) | NA | BRL (10) | BRL (20) | BRL (10) | ND | BRL (10) | NA | NA | NA | BRL (10) | BRL (10) | BRL (10)
Copper | NS | NS | NS | NS | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | BRL (5) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (5) | BRL (10) | BRL (5) | BRL (5) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | NA | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | BRL (5) | NA | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | 5.1 | BRL (5) | BRL (5) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | NA | NA | NA | BRL (5) | BRL (5) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (5) | NA | NA | NA | NA | NA | BRL (10) | BRL (10) | BRL (10) | BRL (10) | NA | NA | NA | NA | NA | NA | NA | NA | BRL (20) | NA | NA | NA | NA | NA | NA | NA | NA | NA
Lead | 15 | NS | 10 | 150 | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (1) | BRL (10) | BRL (1) | BRL (1) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | BRL (1) | NA | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | BRL (1) | NA | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (1) | BRL (1) | 3.5 | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | NA | NA | NA | NA | NA | BRL (1) | NA | NA | NA | 2.8 | BRL (1) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (1) | NA | NA | NA | NA | NA | BRL (10) | BRL (10) | BRL (10) | BRL (10) | NA | BRL (3) | NA | 6 | NA | 3 | NA | 3 | BRL (50) | 3 | ND | 3 | NA | NA | NA | 3 | 3 | 3
Nickel | 100 | NS | 200 | 2000 | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | BRL (5) | BRL (25) | BRL (25) | BRL (25) | BRL (25) | BRL (25) | BRL (5) | BRL (25) | BRL (5) | BRL (5) | BRL (25) | BRL (25) | BRL (25) | BRL (25) | BRL (25) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | NA | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | BRL (5) | NA | BRL (25) | BRL (25) | BRL (25) | BRL (25) | BRL (25) | 13 | BRL (5) | 7.2 | BRL (25) | BRL (25) | BRL (25) | BRL (25) | BRL (25) | BRL (5) | NA | NA | NA | NA | NA | 6.6 | NA | NA | NA | NA | NA | BRL (5) | NA | NA | NA | 6.9 | BRL (5) | BRL (25) | BRL (25) | BRL (25) | BRL (25) | BRL (5) | NA | NA | NA | NA | NA | BRL (25) | BRL (25) | BRL (25) | BRL (25) | NA | NA | NA | NA | NA | NA | NA | NA | BRL (50) | NA | NA | NA | NA | NA | NA | NA | NA | NA
Selenium | 50 | NS | 100 | 1000 | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | BRL (5) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (5) | BRL (10) | BRL (5) | BRL (5) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | BRL (5) | NA | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | BRL (5) | NA | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (5) | BRL (5) | BRL (5) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | NA | NA | NA | NA | NA | BRL (5) | NA | NA | NA | BRL (5) | BRL (5) | BRL (10) | BRL (10) | BRL (10) | BRL (10) | BRL (5) | NA | NA | NA | NA | NA | BRL (10) | BRL (10) | BRL (10) | BRL (10) | NA | BRL (5) | NA | BRL (5) | NA | BRL (5) | NA | BRL (5) | BRL (5) | BRL (5) | ND | BRL (5) | NA | NA | NA | BRL (5) | BRL (5) | BRL (5)
Silver | 100 | NS | 7 | 1000 | BRL (0.5) | NA | NA | NA | NA | NA | BRL (0.5) | BRL (0.5) | BRL (7) | BRL (7) | BRL (7) | BRL (7) | BRL (7) | BRL (0.5) | BRL (7) | BRL (0.5) | BRL (0.5) | BRL (7) | BRL (7) | BRL (7) | BRL (7) | BRL (7) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | NA | BRL (0.5) | NA | NA | NA | NA | NA | BRL (0.5) | BRL (0.5) | NA | BRL (7) | BRL (7) | BRL (7) | BRL (7) | BRL (7) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (7) | BRL (7) | BRL (7) | BRL (7) | BRL (7) | BRL (0.5) | NA | NA | NA | NA | NA | BRL (0.5) | NA | NA | NA | NA | NA | BRL (0.5) | NA | NA | NA | BRL (0.5) | BRL (0.5) | BRL (7) | BRL (7) | BRL (7) | BRL (7) | BRL (0.5) | NA | NA | NA | NA | NA | BRL (7) | BRL (7) | BRL (7) | BRL (7) | NA | BRL (7) | NA | BRL (7) | NA | BRL (7) | NA | BRL (7) | BRL (3) | BRL (7) | 10 | BRL (7) | NA | NA | NA | BRL (7) | BRL (7) | BRL (7)
Thallium | 2 | NS | 3000 | 30000 | BRL (0.2) | NA | NA | NA | NA | NA | BRL (0.2) | BRL (0.2) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.2) | 0.5 | BRL (0.2) | BRL (0.2) | BRL (0.5) | BRL (0.5) | BRL (1) | BRL (1) | BRL (10) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | NA | BRL (0.2) | NA | NA | NA | NA | NA | BRL (0.2) | BRL (0.2) | NA | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.2) | NA | NA | NA | NA | NA | BRL (0.2) | NA | NA | NA | NA | NA | BRL (0.2) | NA | NA | NA | BRL (0.2) | BRL (0.2) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.5) | BRL (0.2) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (500) | ND | NA | NA | NA | NA | NA | NA | NA | NA | NA
Zinc | 5000 | NS | 900 | 50000 | 18 | NA | NA | NA | NA | NA | 680 | 1500 | 1210 | 253 | 241 | BRL (50) | BRL (50) | 18 | BRL (50) | 7800 | 5700 | 4490 | 4440 | 3550 | 136 | BRL (50) | 27 | 68 | 46 | BRL (10) | 21 | BRL (10) | NA | 62 | NA | NA | NA | NA | NA | 26 | 710 | 1500 | 1300 | BRL (50) | 516 | 320 | 513 | 230 | 11 | 1500 | 162 | BRL (50) | BRL (50) | BRL (50) | BRL (50) | 270 | NA | NA | NA | NA | NA | BRL (10) | NA | NA | NA | NA | NA | BRL (10) | NA | NA | NA | 200 | BRL (10) | BRL (50) | BRL (50) | BRL (50) | BRL (50) | BRL (10) | NA | NA | NA | NA | NA | 123 | 489 | 1100 | 165 | NA | NA | NA | NA | NA | NA | NA | 100 | 10 | NA | NA | NA | NA | NA | NA | NA | NA | NA
hexavalent chromium | 100 | NS | 300 | 3000 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (4) | NA | BRL (4) | NA | NA | NA | NA | NA | BRL (4) | BRL (4) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (10) | ND | NA | NA | NA | NA | NA | NA | NA | NA | NA
Mercury | 2 | NS | 20 | 200 | BRL (0.1) | NA | NA | NA | NA | NA | BRL (0.1) | BRL (0.1) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.1) | BRL (0.2) | BRL (0.1) | BRL (0.1) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.1) | BRL (0.1) | BRL (0.1) | BRL (0.1) | BRL (0.1) | BRL (0.1) | NA | BRL (0.1) | NA | NA | NA | NA | NA | BRL (0.1) | BRL (0.1) | NA | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.1) | BRL (0.1) | BRL (0.1) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.1) | NA | NA | NA | NA | NA | BRL (0.1) | NA | NA | NA | NA | NA | BRL (0.1) | NA | NA | NA | BRL (0.1) | BRL (0.1) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.1) | NA | NA | NA | NA | NA | BRL (0.2) | BRL (0.2) | BRL (0.2) | BRL (0.2) | NA | 0.3 | NA | 0.5 | NA | 0.2 | NA | 0.2 | BRL (0.5) | 0.4 | NA | 0.3 | BRL (0.2) | BRL (0.4) | BRL (0.8) | 0.5 | 0.2 | 0.2
Polychlorinated Biphenyls (PCBs) |  | Concentrations in Micrograms per liter (µg/L)
All Analyzed PCBs | 0.5 | 5 | 10 | 100 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (0.2) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BRL (0.2) | NA | BRL (0.2) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Volatile Organic Compounds (VOCs)
all analyzed VOCs | VBC | VBC | VBC | VBC | ND | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [6 empty] | ND | ND | ND | ND | NA | NA | NA | ND | ND | ND | NA | NA | NA | NA | NA | ND | ND | ND | NA | NA | NA | NA | NA | ND | NA | NA | NA | NA | NA | ND | NA | NA | NA | NA | NA | ND | NA | NA | NA | ND | ND | NA | NA | NA | NA | ND | NA | NA | NA | NA | NA | NA | NA | NA | NA | ND | NA | ND | ND | ND | ND | ND | ND | ND | NA | ND | ND | NA | NA | NA | ND | ND | ND | bar: MW105 to MW111
Notes:
1. BRL ( ) = below reporting limit indicated in parentheses.
2. ND = Not detected; NA=Not Analyzed; NS=No Standard; VBC=criteria vary by compound
3. Boldface= Concentration exceeds one or more of the applicable MCP Groundwater Standards or Reportable Conditions
4. "-": Information not available
5. The HDW4 sample is referenced in the laboratory report as "MW-1"